## Slide 1: DIA: The Cutting Edge
Jarrett Egertson, Ph.D.
University of Washington, Department of Genome Sciences

## Slide 2: Cutting Edge DIA Research
Improving Precursor Selectivity with Demultiplexing
  MSX on Q-Exactive
    Egertson JD, Kuehn A, et. al. Nature Methods 2013
DIA on Future Instrument Platforms
  DDA becomes DIA
  What is the Ideal DIA Instrument??

## Slide 3: The Precursor Selectivity of DIA Must be Improved

## Slide 4: Low PS Makes Picking Peaks Difficult….
FEIELLSLDDDSIVNHEQDLPK S. cerevisiae lysate (soluble) 10 m/z wide window DIA (Q-Exactive)

## Slide 5: …Especially When Modified Forms are Present
SLQDIIAILGMDELSEEDKLTVSR+++
(892.47 m/z)
SLQDIIAILGMDELSEEDKLTVSR+++
(897.8 m/z)
890
900
X


X

## Slide 6: Example: AYIDSTDSR, charge 2
Sonia Ting

## Slide 7: Low Precursor Selectivity Hinders Peak Detection and Quantification
10 m/z-wide windows
5 m/z-wide windows
Peptide: VTSAYLQDIENAYKK +++

## Slide 8: Multiplexed DIA on a Q-Exactive
Orbitrap FTMS Acquistion
Orbitrap FTMS Acquisition
C-trap Fill
Standard MS/MS on a Q-Exactive
Time
C-trap Fill
Orbitrap FTMS Acquistion
Orbitrap FTMS Acquisition
C-trap Fill
Multiplexed MS/MS on a Q-Exactive
Time
C-trap Fill
C-trap Fill
C-trap Fill
C-trap Fill
C-trap Fill
C-trap Fill
C-trap Fill
C-trap Fill
C-trap Fill

## Slide 9: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800

## Slide 10: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800

## Slide 11: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2

## Slide 12: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3

## Slide 13: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3
Scan 20
. . .

## Slide 14: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3
Scan 20
. . .

## Slide 15: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3
Scan 20
. . .

## Slide 16: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3
Scan 20
. . .
Scan 21

## Slide 17: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3
Scan 20
. . .
Scan 21

## Slide 18: Multiplexed DIA on a Q-Exactive
Scan 1
100 4 m/z-wide windows = 400 m/z
m/z
400
800
Scan 2
Scan 3
Scan 20
. . .
Scan 21
Cycle Time

## Slide 19: Demultiplexing
m/z
Intensity

## Slide 20: Demultiplexing

## Slide 21: Before Demultiplexing…
SLQDIIAILGMDELSEEDKLTVSR+++
(892.47 m/z)
SLQDIIAILGMDELSEEDKLTVSR+++
(897.8 m/z)
890
900
X


X

## Slide 22: …After Demultiplexing
890
900
X

## Slide 23: 10 m/z DIA and MSX Analysis of ISGLIYEETR++ peptide
10 m/z DIA
MSX

## Slide 24: 10 m/z DIA and MSX Analysis of NIPGVDVMNVER++ peptide
10 m/z DIA
MSX

## Slide 25: MS1 vs MSX Quantitation

## Slide 26: So what’s the problem?

## Slide 27: Multiplexed DIA Fill Issue
Scan 1
m/z
500
900
20 ms

## Slide 28: Multiplexed DIA Fill Issue
Scan 1
m/z
500
900
20-40 ms

## Slide 29: Multiplexed DIA Fill Issue
Scan 1
m/z
500
900
40-60 ms

## Slide 30: Multiplexed DIA Fill Issue
Scan 1
m/z
500
900
60-80 ms

## Slide 31: Multiplexed DIA Fill Issue
Scan 1
m/z
500
900
80-100 ms

## Slide 32
Modify Experiment Design
Wide precursor window fragments multiple peptides at once.
MSX does not work on all instruments
Can be limited by fill time.
How do we improve DIA selectivity without using MSX?
Overlapping isolation windows: Egertson JD – ASMS 2013

## Slide 33: Methods we use in our lab on the Q-Exactive HF
Acquisition Method | Precursor Selectivity | Fragment Selectivity | Max Inject Time
20 x 20 m/z windows | 20 m/z isolation | 30k R.P. | 60 ms
20 x 20 m/z overlapping windows | ~10 m/z isolation after demultiplexing | 30k R.P. | 60 ms
40 x 10 m/z windows | 10 m/z isolation | 15k R.P. | 17 ms
40 x 10 m/z overlapping windows | ~5 m/z isolation after demultiplexing | 15k R.P. | 17 ms
4 x 5 m/z MSX | ~5 m/z isolation after demultiplexing | 30k R.P. | 15 ms
Sensitivity

## Slide 34: Methods we use in our lab on the Q-Exactive HF
Acquisition Method | Precursor Selectivity | Fragment Selectivity | Max Inject Time
20 x 20 m/z windows | 20 m/z isolation | 30k R.P. | 60 ms
20 x 20 m/z overlapping windows | ~10 m/z isolation after demultiplexing | 30k R.P. | 60 ms
40 x 10 m/z windows | 10 m/z isolation | 15k R.P. | 17 ms
40 x 10 m/z overlapping windows | ~5 m/z isolation after demultiplexing | 15k R.P. | 17 ms
4 x 5 m/z MSX | ~5 m/z isolation after demultiplexing | 30k R.P. | 15 ms
Selectivity

## Slide 35: Improved Demultiplexing Algorithm

## Slide 36: Demultiplexing
m/z
Intensity
1
7
28
81
84
Isolation Windows

## Slide 37: Demultiplexing
m/z
Intensity
1
7
28
81
84
Isolation Windows

## Slide 38: Demultiplexing
m/z
Intensity
1
Isolation Windows

## Slide 39: Demultiplexing
m/z
Intensity
1
7
28
81
84
Isolation Windows
Intensity(100) = I1 + I7 + I28 + I81 + I84

## Slide 40: Demultiplexing
m/z
Intensity
3
10
74
75
92
Isolation Windows
Intensity(99) = I3 + I10 + I74 + I75 + I92

## Slide 41: Demultiplexing
m/z
Intensity
Intensity(99) = I3 + I10 + I74 + I75 + I92
Intensity(100) = I1 + I7 + I28 + I81 + I84
10 Unknowns

## Slide 42: Demultiplexing
m/z
Intensity
2
Knowns
10 Unknowns
Intensity(99) = I3 + I10 + I74 + I75 + I92
Intensity(100) = I1 + I7 + I28 + I81 + I84

## Slide 43: Demultiplexing
…
…
Intensity(99) = I3 + I10 + I74 + I75 + I92
Intensity(100) = I1 + I7 + I28 + I81 + I84
…
…
Intensity(50) = I3 + I11 + I34 + I35 + I90
Intensity(150) = I17 + I44 + I52 + I55 + I99
100 Scans
5 Duty
Cycles
~15 seconds
100 knowns
100 unknowns
Solve by non-negative least squares optimization

## Slide 44: Demultiplexing by NNLS

## Slide 45: Least Squares
Terence Tao “Compressed Sensing: Or the equation Ax = b, revisited”

## Slide 46: Basis Pursuit
Terence Tao “Compressed Sensing: Or the equation Ax = b, revisited”

## Slide 47: DDA on Future Instruments
m/z
Retention Time
At some point, DIA will be a no-brainer

## Slide 48: Conclusions
Multiplexing greatly improves precursor selectivity
Substantial room for improvement of multiplexing
  Hardware innovations
  Demultiplexing algorithm