## Slide 1: Introduction to Data Independent Acquisition
Jarrett Egertson, Ph.D.
MacCoss Lab

## Slide 2: Part 1: How Does DIA Work?

## Slide 3: Data Independent Acquisition
“All” Reaction Monitoring (coined by Bruce Lab)
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Measure all fragment ions for all precursors between 500 and 900 m/z
Orbitrap
Linear Ion Trap
TOF
FT-ICR

## Slide 4: Comprehensive MS/MS Acquisition
20 20 m/z-wide windows = 400 m/z
m/z
500
900

## Slide 5: Comprehensive MS/MS Acquisition
Scan 1
20 20 m/z-wide windows = 400 m/z
m/z
500
900

## Slide 6: Comprehensive MS/MS Acquisition
Scan 1
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Scan 2

## Slide 7: Comprehensive MS/MS Acquisition
Scan 1
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Scan 2
Scan 3
Scan 4
Scan 5
Scan 6
Scan 7
Scan 20
…
Scan 21

## Slide 8: Comprehensive MS/MS Acquisition
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Time
~2 seconds
Precursor Filter
780-800 m/z
Orbitrap Mass Analyzer

## Slide 9: Comprehensive MS/MS Acquisition
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Time
~2 seconds (Q-Exactive)
MS Scan

## Slide 10: DIA Data Acquisition
m/z
500
900
Time
Comprehensive MS1 and MS2 Sampling
20 m/z
Un-Targeted
Un-Biased
Wide Isolation
500
m/z
520
m/z
Consistent Sampling
Chromatographic Time Scale
2
sec

## Slide 11: Targeted Chromatogram Extraction for VLENTEIGSDSIFDK++ (790.4 m/z)
m/z
500
900
780m/z
800
m/z
51.2
51.3
51.4
51.5
51.6
51.7
Retention Time
400
600
800
1000
1200
1400
m/z
0
1
2
3
4
Intensity x 10-5

## Slide 12: DIA Data Analysis
Select Target Peptides
MS1
MS2
Extract Chromatograms
Select Chromatographic Peak
Set Peak Boundaries

## Slide 13: “SRM” on “All”
PRM/SRM
DIA

## Slide 14
DIA
SRM
Isolation
Targeted
Narrow
Un-Targeted
Wide
Mass Analysis
Mass Filter
Low Resolution
Full Scan
HR/AM
20 m/z Isolation Window
0.7 m/z Isolation Window
Targeted Acquisition
Targeted Extraction

## Slide 15: The Advantages of DIA

## Slide 16
Data Acquisition
Peptide Selection
Chromatogram Extraction
Peak Integration
Transition Refinement
Hypothesis Generation
Hypothesis Test
Data Acquisition
Peptide Selection
Hypothesis Generation
Hypothesis Test
Transition Selection or Refinement
RT Scheduling
Peak Integration
DIA
SRM

## Slide 17
Data Acquisition
Peptide Selection
Chromatogram Extraction
Peak Integration
Transition Refinement
Hypothesis Generation
Hypothesis Test
Data Acquisition
Peptide Selection
Hypothesis Generation
Hypothesis Test
Transition Selection or Refinement
RT Scheduling
Peak Integration
DIA
SRM

## Slide 18
Data Acquisition
Peptide Selection
Chromatogram Extraction
Peak Integration
Transition Refinement
Hypothesis Generation
Hypothesis Test
Data Acquisition
Peptide Selection
Hypothesis Generation
Hypothesis Test
Transition Selection or Refinement
RT Scheduling
Peak Integration
DIA
SRM

## Slide 19
Data Acquisition
Peptide Selection
Chromatogram Extraction
Peak Integration
Transition Refinement
Hypothesis Generation
Hypothesis Test
Data Acquisition
Peptide Selection
Hypothesis Generation
Hypothesis Test
Transition Selection or Refinement
RT Scheduling
Peak Integration
DIA
SRM

## Slide 20: DIA vs. SRM and PRM
 | SRM | PRM | DIA
Isolation | Targeted | Targeted | Comprehensive
 | Narrow | Narrow | Wide
Mass Analysis | Targeted | Full Scan | Full Scan
 | Mass Filter | HR/AM | HR/AM
DIA Acquires Comprehensive AND Selective Data on a Peptide Mixture

## Slide 21: DIA: Comprehensive and Selective
 | DDA |  | DIA |  | SRM
 | MS1 | MS2 | MS1 | MS2 | MS2
Comprehensive | Yes | No | Yes | Yes | No
Selective | No | Yes | No | Yes | Yes
Matches to observed MS1 precursor 1312.6003 +/- 10 ppm | Sequence | Mass | XCorr
 | R.HGESAWNLENR.F | 1312.6029 | 3.5356
 | K.EVAVADYTSSDR.V | 1312.6016 | 0.2337
 | K.KPYECTLCNK.T | 1312.6024 | 0.1140
 | K.NSSSEQLFSSAR.L | 1312.6128 | 0.1054
 | R.NDTHPTTGSASPK.H | 1312.6128 | 0.0628
Observed

## Slide 22: Why Do We Need DIA?
DDA can identify and quantify peptides
  Database search for ID
  Spectral count or MS1 quantification
Why do we need DIA?
  Can query the data for any peptide (peptide detection)
  More selective and sensitive quantification

## Slide 23: Why do we age?
WT
WT
WT
tor1
tor1
tor1
PSM
DDA
DDA
PSMs
PSM
MS1 AUC

## Slide 24: Why do we age?
Is Lipin 1 Detected in the Sample?
Does Lipin 1 Change in Abundance?
??
??
??

## Slide 25: What Does DDA Miss?
Detected
Sampled
Identified
??
??

## Slide 26
Harry
Potter
Don Quixote
Life of Pi
The Hobbit
War and Peace
Kite Runner
Gone with the Wind
Catch-22
Conclusion: Harry Potter was not identified, so the library does not have it.
Identification is not a proxy for
detection

## Slide 27
Harry
Potter
A
B
C
D
E
F
G
H
I
J
K
L
M
N
Conclusion: Harry Potter was detected, the library has it

## Slide 28: MS/MS Quantification is More Sensitive than MS
37
38
39
40
41
Retention Time
0
50
100
150
200
250
I
n
t
e
n
s
i
t
y
(
1
0
^
6
)
37
38
39
40
41
Retention Time
0
2
4
6
8
10
12
I
n
t
e
n
s
i
t
y
(
1
0
^
6
)
38.0
38.5
39.0
39.5
40.0
Retention Time
0.0
0.2
0.4
0.6
0.8
1.0
1.2
I
n
t
e
n
s
i
t
y
(
1
0
^
9
)
38.0
38.5
39.0
39.5
40.0
Retention Time
0
20
40
60
80
100
120
140
160
180
I
n
t
e
n
s
i
t
y
(
1
0
^
6
)
96 fmol
4 fmol
MS
MS/MS

## Slide 29: The Promise of DIA
Acquire a “molecular image” or “digital archive” of the sample
  Mine it over and over
  No scheduling
Direct queries (and p-values) for peptides of interest
Better quantitation than DDA

## Slide 30: The Challenges of DIA

## Slide 31: Precursor Selectivity
SLQDIIAILGMDELSEEDKLTVSR+++
(892.47 m/z)
SLQDIIAILGMDELSEEDKLTVSR+++
(897.8 m/z)
890
900
X


X
Multiplexed Methods Improve This Substantially

## Slide 32: Peak Picking is Challenging
Peptide: NLPFSVENK ++
New Peptide Detection Algorithms (PECAN) and use of Known Retention Time and Fragmentation Information Help

## Slide 33: Automated Peak Integration
38.0
38.5
39.0
39.5
Retention Time
0.0
0.5
1.0
1.5
2.0
2.5
3.0
3.5
4.0
I
n
t
e
n
s
i
t
y
(
1
0
^
9
)
38.0
38.5
39.0
39.5
Retention Time
0
10
20
30
40
50
60
70
I
n
t
e
n
s
i
t
y
(
1
0
^
6
)
30
31
32
33
34
Retention Time
0
20
40
60
80
100
120
I
n
t
e
n
s
i
t
y
(
1
0
^
6
)
30
31
32
33
34
Retention Time
0.0
0.5
1.0
1.5
2.0
2.5
3.0
I
n
t
e
n
s
i
t
y
(
1
0
^
6
)
Do Peak Integration with Multiple Combinations of Transitions and Choose the Consensus – use Mass Error

## Slide 34: Image Quality

## Slide 35: DDA vs. DIA vs. SRM
DDA
SRM/PRM
MS/MS Quantification
High Selectivity MS/MS
Quantification
MS Quantification
on almost everything
DIA
on targets
on semi-random subset

## Slide 36: Next Sessions
DIA Method Design, Data Acquisition, and Quality Control
  There is no “one size fits all” DIA method
DIA Data Analysis
  Using DDA to inform DIA Analysis
Future Directions
  Multiplexed Acquisition
  Future Instrumentation
  Algorithmic Improvements