## Slide 1
Developing, transferring, sharing, combining, and bridging
global and targeted quantitative methods and data
in a platform-independent manner thanks to Skyline
Christine Carapito
Laboratory of Bio-Organic Mass Spectrometry
CNRS / Strasbourg University
Director: A. Van Dorsselaer
ccarapito@unistra.fr
2nd Skyline User Group Meeting ASMS 2013
June 8th, 2013

## Slide 2
From Global to Targeted Proteomics Approaches
Global, Discovery Proteomics
From Mueller, L. N., et al., 2008
- Label-free quantification
- Isotopic labeling
- Spectral counting
Shotgun, LC/LC-MSMS approaches
1D-2D Gel Electrophoresis
500-2000 identified proteins
Qualitative
Quantitative
Poorly reproducible, approx. quantitation
Proteins of interest
LC-MS/MS
10-100 candidate proteins
Qualitative
Quantitative
Precise reproducible, absolute quantitation
Targeted Proteomics
LC-SRM
QQQ technology
Heavy labeled synthetic standards

## Slide 3
Examples of applications from our lab
Collaboration with Bertin P. and Ploetze F., Strasbourg University
Proteome and Metaproteome Analysis of Arsenic-Resistant Bacteria and Bacterial Communities
Carapito C., et al. (2006) Biochimie 88: 595-606
Muller D., et al. (2007) PLoS Genet 3: e53
Weiss S., et al. (2009) Biochimie 91: 192-203
Bruneel O., et al. (2011) Microb Ecol 61: 793-810
Bertin P.N., et al. (2011) ISME J. 5:1735-1747
Halter D., et al. (2011) Res Microbiol 162: 877-887
Halter D., et al. (2012) ISME J. 6: 1391-1402
Acid mine drainage (AMD) of the Carnoules mine (south of France) characterized by acid waters containing high concentrations of arsenic and iron.
Sediment analysis:
- Metagenome sequencing of the community
- Metaproteome analysis using the metagenome data
From Global/Discovery Proteomics :
Identification of ~900 proteins among which interesting candidate proteins involved in arsenic bioremediation
1D gels
Systematic cutting
In-gel trypsin
digestions
NanoLC-MS/MS
AmaZon ion trap (Bruker Daltonics)
Q-TOF Synapt
(Waters)
2D gels

## Slide 4
Examples of applications from our lab
Proteome and Metaproteome Analysis of Arsenic-Resistant Bacteria and Bacterial Communities
Acid mine drainage (AMD) of the Carnoules mine (south of France) characterized by acid waters containing high concentrations of arsenic and iron.
Sediment analysis:
- Metagenome sequencing of the community
- Metaproteome analysis using the metagenome data
To Targeted Proteomics :
LC-SRM assay for accurate quantification of targeted proteins in sediments over the watercourse and seasons.
TSQ Vantage QQQ
(Thermo Scientific)
Liquid digestion
heavy labeled peptides
LC-SRM analysis
Carapito C., et al. (2006) Biochimie 88: 595-606
Muller D., et al. (2007) PLoS Genet 3: e53
Weiss S., et al. (2009) Biochimie 91: 192-203
Bruneel O., et al. (2011) Microb Ecol 61: 793-810
Bertin P.N., et al. (2011) ISME J. 5:1735-1747
Halter D., et al. (2011) Res Microbiol 162: 877-887
Halter D., et al. (2012) ISME J. 6: 1391-1402
Collaboration with Bertin P. and Ploetze F., Strasbourg University

## Slide 5
B-cells lymphoma biomarker discovery
Examples of applications from our lab
Sarah Lennon, Christine Carapito, Laurent Miguet, Luc Fornecker, Laurent Mauvieux, Alain Van Dorsselaer, Sarah Cianferani
Collaboration with Institute of Hematology and Immunology, Strasbourg University
Miguet L. et al., (2006) Proteomics 6: 153-171
Miguet L. et al., (2007) Subcell Biochem 43: 21-34
Miguet L. et al., (2009) J Proteome Res 8: 3346-3354
Miguet L. et al., (2013) Leukemia Epub ahead of print
Blood cells
Microparticles induction
Membrane proteins enriched fraction
B-cell Lymphoma: Blood disease characterized by a proliferation of B lymphocytes
From Global/Discovery Proteomics :
Identification of 2 robust candidate biomarkers:
CD148 and CD180
1D SDS-PAGE
Systematic cutting
In-gel trypsin
digestions
NanoLC-MS/MS
Q-TOF MaXis
(Bruker Daltonics)
Q-TOF Synapt
(Waters)
Validated by flow cytometry
(on 1 epitope) on > 500 samples
Differential
Spectral counting analysis

## Slide 6
Examples of applications from our lab
6410 QQQ
(Agilent Technologies)
Liquid digestion
heavy labeled peptides
LC-SRM analysis
Blood cells lysate
To Targeted Proteomics :
B-cells lymphoma biomarker discovery
Sequence coverage
of CD148 (Q12913)
LC-SRM assay for absolute quantification of targeted proteins, following at least 10 peptides per protein (versus 1 epitope)
Miguet L. et al., (2006) Proteomics 6: 153-171
Miguet L. et al., (2007) Subcell Biochem 43: 21-34
Miguet L. et al., (2009) J Proteome Res 8: 3346-3354
Miguet L. et al., (2013) Leukemia Epub ahead of print
Blood cells
Microparticles induction
Membrane proteins enriched fraction
B-cell Lymphoma: Blood disease characterized by a proliferation of B lymphocytes
Sarah Lennon, Christine Carapito, Laurent Miguet, Luc Fornecker, Laurent Mauvieux, Alain Van Dorsselaer, Sarah Cianferani
Collaboration with Institute of Hematology and Immunology, Strasbourg University

## Slide 7
Targeted quantitative proteomics workflow using SRM-MS
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation

## Slide 8
Previous global/discovery proteomics experiments
+
Additionnal hypotheses, Biological observations or litterature/data mining, …
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Upload of targeted proteins
(.fasta file)
Targeted quantitative proteomics workflow using SRM-MS

## Slide 9
Identification
Validation (FDR control)
.mzIdentML import into Skyline
Interpretation using 2 search engines
Mascot searches
http://www.matrixscience.com
nanoLC-MSMS data
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Targeted quantitative proteomics workflow using SRM-MS
Useful functionalities to identify best flyers and unique peptides :
Building of Peptide Spectral Libraries generated from global proteomics data
OMSSA* searches
MSDA in-house developed interface
https://msda.unistra.fr/
* Geer, LY et al. J Proteome Res 2004

## Slide 10
Spectral Library Explorer
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Targeted quantitative proteomics workflow using SRM-MS
Useful functionalities to identify best flyers and unique peptides :
Building of Peptide Spectral Libraries generated from global proteomics data

## Slide 11
Among all possible peptides of the proteins of interest, several have already been seen in global proteomics experiments and are likely the best candidates
Ranking of peptides added (Expect values, picked intensity, spectrum count)
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Targeted quantitative proteomics workflow using SRM-MS
Useful functionalities to identify best flyers and unique peptides :
Building of Peptide Spectral Libraries generated from global proteomics data

## Slide 12
Upload a background proteome as a database .fasta file
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Useful functionalities to identify best flyers and unique peptides :
Building of Peptide Spectral Libraries generated from global proteomics data
Defining a Background proteome
Especially important for discriminating isoforms that are present/added in the background proteome
Targeted quantitative proteomics workflow using SRM-MS
Allows to easily visualise unique / shared peptides (much faster than performing BLAST alignments)

## Slide 13
Spectral librairies built on LC-MSMS data acquired on heavy labeled synthetic standard peptides (for yet unseen peptides)
Transition ranking + many adjustable filters
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Useful functionalities to select the best (specific (no interferences) and sensitive) transitions / peptides :
Again Peptide Spectral Libraries
Targeted quantitative proteomics workflow using SRM-MS

## Slide 14
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Useful functionalities to select the best (specific (no interferences) and sensitive) transitions / peptides :
Again Peptide Spectral Libraries
Collision energy optimisation
Targeted quantitative proteomics workflow using SRM-MS
Easily possible thanks to :
Automatic collision energy optimisation methods setup with different CE steps
Availability of heavy labeled standard peptides
0
20
40
60
80
100
120
140
Area (10 3)
Replicates
CE -6
CE -4
CE -2
GPNLTEISK - 483.8++ (heavy)
CE +2
CE +4
CE +6

## Slide 15
After optimisation / Equation prediction
VVSQYHELVVQAR
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Useful functionalities to select the best (specific (no interferences) and sensitive) transitions / peptides :
Again Peptide Spectral Libraries
Collision energy optimisation
LVLEVAQHLGESTVR
After optimisation / Equation prediction
Targeted quantitative proteomics workflow using SRM-MS
Increased sensitivity for specific peptides

## Slide 16
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Useful functionalities to setup up the acquisition methods:
Vendor specific method export from a generic Skyline file
Time scheduling is challenging but mandatory for multiplexing!
- Requires precisely controlled chromatography
- Retention times need to be highly reproducibility
- Peak width and retention time shifts limit the multiplexing.
Use of Retention Time reference (iRT) peptides, spiked in all samples
Escher C, Reiter L, MacLean B, Ossola R, Herzog F, Chilton J, MacCoss M.J, Rinner O Proteomics 2012, 12(8): 1111-1121.
Targeted quantitative proteomics workflow using SRM-MS
2. Retention time scheduling et retention time prediction tools
220 transitions
5min window
100 transitions
2min window
10 min window
380 transitions
Concurrent transitions
Scheduled Time

## Slide 17
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Retention time prediction
Targeted quantitative proteomics workflow using SRM-MS
Chromatographic condition A
30min
%B
90min
%B
Chromatographic condition B
Gradient change, Column change,
System change, …

## Slide 18
Retention time
iRT measured in condition B
iRT-value
Calculator
iRT-value
Retention time
iRT-value
Retention time
Determination of iRT values for the peptides of interest
Predictor
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Chromatographic condition A
30min
%B
iRT measured in condition A
Export of scheduled SRM method
90min
%B
Chromatographic condition B
Targeted quantitative proteomics workflow using SRM-MS
Retention time prediction

## Slide 19
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Gain of time for determining peptides’ retention times
Less sample consumption
Easy change in chromatography type and scale
(nanoLC microLC LC)
Easy method transfer inside the laboratory and with collaborating laboratories
Targeted quantitative proteomics workflow using SRM-MS
Retention time prediction

## Slide 20
3. Transitions selection and optimisation
4. SRM analysis
1. List of proteins of interest
2. Proteotypic peptides for proteins of interest
5. Quantitative data interpretation
Targeted quantitative proteomics workflow using SRM-MS
Useful functionalities for quantitative data interpretation:
All Skyline views
Easy data checking: manual verification is possible, in a fast and efficient way
View of all replicates
Visualisation of interferences
Flexible and rich export templates

## Slide 21
48 human proteins (Universal Proteomics Standard UPS1)
spiked into a yeast cell lysate background +
iRT reference peptides
An inter-laboratory performance evaluation standard
Weekly injections over 6 months:
TSQ Vantage (Thermo)
G6410
(Agilent Technologies)
Q-Trap (ABSciex)
Q-Trap (ABSciex)
Definition of a series of criteria to meet for System OK/Not OK:
Signal intensities (Peak areas)
Peak widths
Retention time
Peak distribution
Allows us to check:
Multiplexing capability
(689 transitions)
Signal fluctuations
Retention time variability
Platform comparisons
Robustness over time
Peptide storage over time, …
Data processing/exchange with Skyline!

## Slide 22
Global/Discovery proteomics approaches with Skyline
Q-TOF MaXis and
Q-TOF Compact
(Bruker Daltonics)
Even easier integration of full-scan/discovery results with follow-up targeted experiments !
MS1- filtering

## Slide 23
500-2000 identified proteins
Qualitative
Quantitative
Poorly reproducible, approx. quantitation
10-100 candidate proteins
Qualitative
Quantitative
Precise reproducible, absolute quantitation
Global/Discovery Proteomics
Targeted Proteomics
From Global to Targeted Proteomics Approaches

## Slide 24
Thanks !
Van Dorsselaer A.
Vaca S.
Opsomer A.
Hovasse A.
Lennon S.
Cianferani S.
WP3 of ProFI
WP3 of the French Proteomics Infrastructure (Garin J.) :
-Grenoble : Benama M., Adrait A., Ferro M.
-Strasbourg : Opsomer A., Vaca S., Hovasse A., Schaeffer C., Carapito C.
-Toulouse : Garrigues L., Dalvai F., Stella A., Bousquet M.P., Gonzales A.
Plumel M.
Delalande F.
Bertaccini A.
Boeuf A.
Brendan MacLean and the Skyline team