## Slide 1: Application of Data Independent Acquisition Techniques Optimized for Improved Precursor Selectivity
Jarrett D. Egertson, Ph.D.
MacCoss Lab
Department of Genome Sciences
University of Washington
6/8/2013
Notes: Title Slide should have all authors

## Slide 2: Acquisition Methods
Targeted
Discovery
Data Dependent Acquisition (DDA)
Peptide Identification
Data Independent
Acquisition (DIA)
Selected Reaction Monitoring (SRM)
Peptide Quantitation
Notes: Targeted, Discovery, DIA

## Slide 3: LC–MS/MS: Data Dependent Acquisition
m/z
MS Scan
MS Scan
1
2
3
4
5
Notes: Add things we’re targeting showing up on the MS1 scan

## Slide 4: Data Independent Acquisition (DIA)
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Notes: Switch to 20, put in some MS1 scans
Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 5: Data Independent Acquisition (DIA)
Scan 1
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Notes: Switch to 20, put in some MS1 scans
Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 6: Data Independent Acquisition (DIA)
Scan 1
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Scan 2
Notes: Switch to 20, put in some MS1 scans
Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 7: Data Independent Acquisition (DIA)
Scan 1
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Scan 2
Scan 3
Scan 4
Scan 5
Scan 6
Scan 7
Scan 20
…
Scan 21
Notes: Switch to 20, put in some MS1 scans
Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 8: Data Independent Acquisition (DIA)
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Time
~2 seconds
MS Scan
~30 seconds
Notes: Mention on this slide that skyline has really helped with analyzing MS1 data, not much of a trade off in duty cycle, but quant can be complementary in less complex regions of the sample

## Slide 9: Data Independent Acquisition (DIA)
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Time
Notes: Add in MS1 scans here

## Slide 10: Data Independent Acquisition (DIA)
20 20 m/z-wide windows = 400 m/z
m/z
500
900
Time
LGLVGGSTIDIK++ (586.85)
Notes: Add in MS1 scans here

## Slide 11: Data Independent Acquisition (DIA)
LGLVGGSTIDIK++ (586.85)
VGGSTIDIK+
GGSTIDIK+
GSTIDIK+
LVGGSTIDIK+
STIDIK+
TIDIK+
IDIK+
(1002.58)
(889.50)
(790.43)
(676.39)
(589.36)
(488.31)
(375.22)
Notes: Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 12: Data Independent Acquisition (DIA)
LGLVGGSTIDIK++ (586.85)
VGGSTIDIK+
GGSTIDIK+
GSTIDIK+
LVGGSTIDIK+
STIDIK+
TIDIK+
IDIK+
(1002.58)
(889.50)
(790.43)
(676.39)
(589.36)
(488.31)
(375.22)
Notes: Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 13: Data Independent Acquisition (DIA)
48
49
50
51
52
Retention Time
0.0
0.5
1.0
1.5
2.0
2.5
3.0
3.5
Intensity x 10-6
LGLVGGSTIDIK++ (586.85)
VGGSTIDIK+
GGSTIDIK+
GSTIDIK+
LVGGSTIDIK+
STIDIK+
TIDIK+
IDIK+
(1002.58)
(889.50)
(790.43)
(676.39)
(589.36)
(488.31)
(375.22)
Notes: Usually 1,000 – 5,000 peptides identified by MS/MS
Usually ~25,000 – 50,000 MS features detected
2-20% of Features Annotated
BUT Usually only ~70% overlap in annotated features between runs

## Slide 14
MS/MS
1.02 femtomoles of Bovine Serum Albumin
(LVNELTEFAK++) in 1.2 ug of S. cerevisiae lysate
Notes: 1.02 femtomoles of serum albumin in 1.2 ug of S. cereivsiae lysate
LVNELTEFAK++
1.02 femtomoles in 1.2 ug of soluble S. cerevisiae lysate
From DIA, can query for any peptide, and get MS/MS targeted like data
-- and also, that quantitation can be better than DDA --
Can use MS/MS or MS for quant, show MS and MS/MS, sometimes there is chemical interference in the MS signal, so MS/MS will be more sensitive

## Slide 15
MS
MS/MS
1.02 femtomoles of Bovine Serum Albumin
(LVNELTEFAK++) in 1.2 ug of S. cerevisiae lysate
Notes: 1.02 femtomoles of serum albumin in 1.2 ug of S. cereivsiae lysate
LVNELTEFAK++
1.02 femtomoles in 1.2 ug of soluble S. cerevisiae lysate
From DIA, can query for any peptide, and get MS/MS targeted like data
-- and also, that quantitation can be better than DDA --
Can use MS/MS or MS for quant, show MS and MS/MS, sometimes there is chemical interference in the MS signal, so MS/MS will be more sensitive

## Slide 16
MS
MS/MS
1.02 femtomoles of Bovine Serum Albumin
(LVNELTEFAK++) in 1.2 ug of S. cerevisiae lysate
Notes: 1.02 femtomoles of serum albumin in 1.2 ug of S. cereivsiae lysate
LVNELTEFAK++
1.02 femtomoles in 1.2 ug of soluble S. cerevisiae lysate
From DIA, can query for any peptide, and get MS/MS targeted like data
-- and also, that quantitation can be better than DDA --
Can use MS/MS or MS for quant, show MS and MS/MS, sometimes there is chemical interference in the MS signal, so MS/MS will be more sensitive

## Slide 17: Theoretical Benefits of DIA
Comprehensive Sampling
  Reproducibility
Improved Quantitation
500 – 900 m/z
MS
MS/MS

## Slide 18: Isolation Window Width
Vs.
Vs.
2 m/z
10 m/z
20 m/z
DDA
DIA
Lower precursor selectivity
More peptides co-fragmented
More complex MS/MS spectra
More interference
Notes: Show the spectrum, and the chromatogram
Even with DDA >30% of the spectra are mixed
Quantitation can be limited by interference, show 10 m/z vs. 20 m/z (from overlap experiment)
Spectrum and chromatogram from loq data on a yeast background peptide

## Slide 19: Precursor Selectivity
2 m/z
ANFQGAITNR
Notes: Show the spectrum, and the chromatogram
Even with DDA >30% of the spectra are mixed
Quantitation can be limited by interference, show 10 m/z vs. 20 m/z (from overlap experiment)
Spectrum and chromatogram from loq data on a yeast background peptide

## Slide 20: Precursor Selectivity
10 m/z
ANFQGAITNR
Notes: Show the spectrum, and the chromatogram
Even with DDA >30% of the spectra are mixed
Quantitation can be limited by interference, show 10 m/z vs. 20 m/z (from overlap experiment)
Spectrum and chromatogram from loq data on a yeast background peptide

## Slide 21: Precursor Selectivity
20 m/z
ANFQGAITNR
Notes: Show the spectrum, and the chromatogram
Even with DDA >30% of the spectra are mixed
Quantitation can be limited by interference, show 10 m/z vs. 20 m/z (from overlap experiment)
Spectrum and chromatogram from loq data on a yeast background peptide

## Slide 22: Precursor Selectivity
Intensity
4e7
Retention Time (min)
25
26
10 m/z
ANFQGAITNR
Notes: RT 25-26 intensity 40e6

## Slide 23: Precursor Selectivity
Intensity
4e7
10 m/z
Retention Time (min)
Intensity
4e7
25
26
20 m/z
ANFQGAITNR
X

X
X


Notes: RT 25-26 intensity 40e6

## Slide 24: Precursor Selectivity
SLQDIIAILGMDELSEEDKLTVSR+++
(892.47 m/z)
SLQDIIAILGMDELSEEDKLTVSR+++
(897.8 m/z)
890
900
X


X
Notes: Change to star and X

## Slide 25: Improving Precursor Selectivity

X
Notes: Take a normal DIA scheme, with 20 m/z wide windows, overlap them (schematic figure)

## Slide 26: Improving Precursor Selectivity

X

X
Notes: Remove the letters from these

## Slide 27: Improving Precursor Selectivity
Notes: Take a normal DIA scheme, with 20 m/z wide windows, overlap them (schematic figure)

## Slide 28: Improving Precursor Selectivity

X
Notes: Take a normal DIA scheme, with 20 m/z wide windows, overlap them (schematic figure)

## Slide 29: Improving Precursor Selectivity

X

X
Notes: Take a normal DIA scheme, with 20 m/z wide windows, overlap them (schematic figure)

## Slide 30: Overlapped Isolation Windows
Intensity
4e7
20 m/z
X

Overlapped
20 m/z
Retention Time (min)
25
26
Intensity
4e7
ANFQGAITNR
Overlapped
X
Overlapped
Demultiplexed: ~10 m/z
Overlapped
X
No Overlap
X



Notes: Qualitative demultiplexing result
First show 20 m/z vs. 20 m/z overlap w/o demux

## Slide 31: Improved Quantitation
Chart: Lower Limit of Quantitation (fmol)
| MS1 | All | Top 3 | Top 5 | Top 7
10 m/z | 7.8961 | 1.0662 | 1.5673 | 2.1478
Demultiplexed | 11.1648 | 9.8445 | 1.7085 | 2.2686 | 2.7407
20 m/z | 17.2241 | 2.6024 | 3.9082 | 4.8726
Transitions Integrated
21 Peptides Spiked Into
Yeast Lysate Quantified
Dario Amodei
Notes: Quantitative result:
LoQ

## Slide 32: Conclusions
Overlapping Windows Improves Selectivity and Sensitivity of DIA
Easily applicable to virtually any DIA-capable instrument
De-multiplexing implemented in Skyline (multi-vendor support)
These experiments can be done now with Skyline-daily
Notes: Improve charge state
Use precursor information

## Slide 33: Generating a DIA Method Using Skyline: Generate a Target List
20 20 m/z-wide windows = 400 m/z
m/z
500
900

## Slide 34: Generating a DIA Method Using Skyline: Generate a Target List

## Slide 35: Generating a DIA Method Using Skyline: Generate a Target List

## Slide 36: Generating a DIA Method Using Skyline: Generate a Target List
1.00045475 m/z
 | Mass | Excess
H | 1.00078 | 0.00078
C | 12 | 0.0
O | 15.9949 | 0.9949
N | 14.0031 | 0.0031
S | 31.9721 | 0.9721

## Slide 37: Generating a DIA Method Using Skyline: Generate a Target List
1.00045475 m/z
 | Mass | Excess
H | 1.00078 | 0.00078
C | 12 | 0.0
O | 15.9949 | 0.9949
N | 14.0031 | 0.0031
S | 31.9721 | 0.9721

## Slide 38: Generating a DIA Method Using Skyline: Generate a Target List
1.00045475 m/z
 | Mass | Excess
H | 1.00078 | 0.00078
C | 12 | 0.0
O | 15.9949 | 0.9949
N | 14.0031 | 0.0031
S | 31.9721 | 0.9721

## Slide 39: Generating a DIA Method Using Skyline: Generate a Target List

## Slide 40: Generating a DIA Method Using Skyline: Generate a Target List

## Slide 41: Importing Data: Filtering Settings

## Slide 42: Acknowledgements
Stanford University
Dario Amodei
Parag Mallick
Purdue University
Olga Vitek
University of Washington
Mike MacCoss
Brendan MacLean
Don Marsh
Gennifer Merrihew
Richard Johnson
Sonia Ting
& the rest of the lab
Thermo Scientific
Markus Kellmann
Andreas Kuehn
Reiko Kiyonami
Yue Xuan
Dario’s Poster: Tuesday June 11th
(#512) 10:30 AM – 2:30 PM
Jarrett’s Talk: Monday, June 10th 8:30-8:50AM Exhibit Hall A
Notes: Reproducibility